## Slide 1
Aluminium Current Experiment
1500mA: 2mins
1000mA: 3mins 48sec
500mA: 10mins only reached 23°C

## Slide 2
Time taken to 65°C
2000mA: 8mins 20sec
1500mA: 17mins 26sec
1000mA: 41mins 10sec it had only reached 54°C

## Slide 3
PDMS Current Experiment
2000mA: 1min 35s
1500mA: 2mins 21s
1000mA: 10mins 17s

## Slide 4
PDMS vs Aluminium
PDMS: 1min 35s
Aluminium: 8min 20s

## Slide 5
Average variation 0.9°C
Variation in Thermistors

## Slide 6
Slightly less than 1°C difference in all cases up to 25°C
Variation in Thermistors

## Slide 7
Around 65°C
Best case: 5°C
Average case: 5.5°C
Worst case:7.2°C
Variation in Thermistors

## Slide 8
Aluminium PID experiment

## Slide 9
LAMP experiment
Colourimetric after
Colourimetric before
Ladder
Sample

## Slide 10
Moving forward:
Obtain heatsink adhesive to stick thermistor on block
Redesign Aluminium block
Run PID experiment on PDMS
Optimise PID settings on Aluminium
Run PDMS size experiment
Develop a comprehensive LAMP experiment for aluminium block
Solder device onto a prototype board
Incorporate fluorescence module
Once LAMP is confirmed use fluorescence imaging