## Slide 1
Heating block
LCD block
Fluorescence block

## Slide 3
Proof of concept Heating Block
Time and temp LCD
Voltage divider
In range out of range LEDs
Switching MOSFET
Arduino
Thermistor
15cm Nichrome Wire
1st PDMS mold
8x 1.5V AA batteries = 12V

## Slide 4
No PID
Kp = 50
Ki = 50
Kd = 0.5
Kp = 350
Ki = 300
Kd = 50
Kp = 350
Ki = 300
Kd = 100

## Slide 5
350300100 low bat

## Slide 6
35030050 old and new bat

## Slide 7
Time it takes for varying currents
3min 17s
4min 20s
6min 44s
3min 18s
For 21cm:
4.68V
3.96V
3.17V
2.37V

## Slide 8
Ø25
45mm
PDMS Mold
Problem | Solution
Poor mold due to short set time | Leave for ~48hrs room temp
Difficult to get out of mold | Breakable mold
Too big | Redesign and print mold
Holds tube
Holds wire
Mold cap for 2nd iteration
Mold cap for 1st iteration

## Slide 9
Aluminium block design
3 different PTC heating cartridges:
40W/12V
40W/24V
40W/24V (5mm longer)

## Slide 10
Heating tube
Detection tube
LEDs
Touch screen
Handheld, but supported so can be put down
Bottom shaped to fit hand: shaped after
Possibly 150x100mm
Small touch screens: 77x52mm
Modelled after label maker
Shaped for hand but sturdy on table
Easily add slant for improved screen visibility
Potential redesign